## Score sheet
Code: | C |  |  | DI: dispersion index | [5 empty] | Code: | F |  |  | DI: dispersion index | [5 empty] | Code: | K |  |  | DI: dispersion index | [5 empty] | Code: | W |  |  | DI: dispersion index
|  |  |  | u: u-test outcome | [9 empty] | u: u-test outcome | [9 empty] | u: u-test outcome | [9 empty] | u: u-test outcome
Cells scored: | 2 |  |  | std: standard dev. |  | v: variance |  |  |  | Cells scored: | 2 |  |  | std: standard dev. |  | v: variance |  |  |  | Cells scored: | 2 |  |  | std: standard dev. |  | v: variance |  |  |  | Cells scored: | 2 |  |  | std: standard dev. |  | v: variance
|  |  |  | LCL/UCL: Lower/upper 95% Confidence limit (see Poisson CI) | [9 empty] | LCL/UCL: Lower/upper 95% Confidence limit (see Poisson CI) | [9 empty] | LCL/UCL: Lower/upper 95% Confidence limit (see Poisson CI) | [9 empty] | LCL/UCL: Lower/upper 95% Confidence limit (see Poisson CI)
| mean | std | var | DI | d | var d | u | LCL | UCL |  | mean | std | var | DI | d | var d | u | LCL | UCL |  | mean | std | var | DI | d | var d | u | LCL | UCL |  | mean | std | var | DI | d | var d | u | LCL | UCL
Mn | 1 | 0 | 0 | 0 | 0 | 1 | #DIV/0! |  |  | Mn | 1 | 0 | 0 | 0 | 0 | 1 | #DIV/0! |  |  | Mn | 1 | 0 | 0 | 0 | 0 | 1 | #DIV/0! |  |  | Mn | 1 | 0 | 0 | 0 | 0 | 1 | #DIV/0!
Cell No | Mn | [8 empty] | Cell No | Mn | [8 empty] | Cell No | Mn | [8 empty] | Cell No | Mn
1 | 1 | [8 empty] | 1 | 1 | [8 empty] | 1 | 1 | [8 empty] | 1 | 1
2 | 1 | [8 empty] | 2 | 1 | [8 empty] | 2 | 1 | [8 empty] | 2 | 1
3 | [9 empty] | 3 | [9 empty] | 3 | [9 empty] | 3
4 | [9 empty] | 4 | [9 empty] | 4 | [9 empty] | 4
5 | [9 empty] | 5 | [9 empty] | 5 | [9 empty] | 5
6 | [9 empty] | 6 | [9 empty] | 6 | [9 empty] | 6
7 | [9 empty] | 7 | [9 empty] | 7 | [9 empty] | 7
8 | [9 empty] | 8 | [9 empty] | 8 | [9 empty] | 8
9 | [9 empty] | 9 | [9 empty] | 9 | [9 empty] | 9
10 | [9 empty] | 10 | [9 empty] | 10 | [9 empty] | 10
11 | [9 empty] | 11 | [9 empty] | 11 | [9 empty] | 11
12 | [9 empty] | 12 | [9 empty] | 12 | [9 empty] | 12
13 | [9 empty] | 13 | [9 empty] | 13 | [9 empty] | 13
14 | [9 empty] | 14 | [9 empty] | 14 | [9 empty] | 14
15 | [9 empty] | 15 | [9 empty] | 15 | [9 empty] | 15
16 | [9 empty] | 16 | [9 empty] | 16 | [9 empty] | 16
17 | [9 empty] | 17 | [9 empty] | 17 | [9 empty] | 17
18 | [9 empty] | 18 | [9 empty] | 18 | [9 empty] | 18
19 | [9 empty] | 19 | [9 empty] | 19 | [9 empty] | 19
20 | [9 empty] | 20 | [9 empty] | 20 | [9 empty] | 20
21 | [9 empty] | 21 | [9 empty] | 21 | [9 empty] | 21
22 | [9 empty] | 22 | [9 empty] | 22 | [9 empty] | 22
23 | [9 empty] | 23 | [9 empty] | 23 | [9 empty] | 23
24 | [9 empty] | 24 | [9 empty] | 24 | [9 empty] | 24
25 | [9 empty] | 25 | [9 empty] | 25 | [9 empty] | 25
26 | [9 empty] | 26 | [9 empty] | 26 | [9 empty] | 26
27 | [9 empty] | 27 | [9 empty] | 27 | [9 empty] | 27
28 | [9 empty] | 28 | [9 empty] | 28 | [9 empty] | 28
29 | [9 empty] | 29 | [9 empty] | 29 | [9 empty] | 29
30 | [9 empty] | 30 | [9 empty] | 30 | [9 empty] | 30
31 | [9 empty] | 31 | [9 empty] | 31 | [9 empty] | 31
32 | [9 empty] | 32 | [9 empty] | 32 | [9 empty] | 32
33 | [9 empty] | 33 | [9 empty] | 33 | [9 empty] | 33
34 | [9 empty] | 34 | [9 empty] | 34 | [9 empty] | 34
35 | [9 empty] | 35 | [9 empty] | 35 | [9 empty] | 35
36 | [9 empty] | 36 | [9 empty] | 36 | [9 empty] | 36
37 | [9 empty] | 37 | [9 empty] | 37 | [9 empty] | 37
38 | [9 empty] | 38 | [9 empty] | 38 | [9 empty] | 38
39 | [9 empty] | 39 | [9 empty] | 39 | [9 empty] | 39
40 | [9 empty] | 40 | [9 empty] | 40 | [9 empty] | 40
41 | [9 empty] | 41 | [9 empty] | 41 | [9 empty] | 41
42 | [9 empty] | 42 | [9 empty] | 42 | [9 empty] | 42
43 | [9 empty] | 43 | [9 empty] | 43 | [9 empty] | 43
44 | [9 empty] | 44 | [9 empty] | 44 | [9 empty] | 44
45 | [9 empty] | 45 | [9 empty] | 45 | [9 empty] | 45
46 | [9 empty] | 46 | [9 empty] | 46 | [9 empty] | 46
47 | [9 empty] | 47 | [9 empty] | 47 | [9 empty] | 47
48 | [9 empty] | 48 | [9 empty] | 48 | [9 empty] | 48
49 | [9 empty] | 49 | [9 empty] | 49 | [9 empty] | 49
50 | [9 empty] | 50 | [9 empty] | 50 | [9 empty] | 50
51 | [9 empty] | 51 | [9 empty] | 51 | [9 empty] | 51
52 | [9 empty] | 52 | [9 empty] | 52 | [9 empty] | 52
53 | [9 empty] | 53 | [9 empty] | 53 | [9 empty] | 53
54 | [9 empty] | 54 | [9 empty] | 54 | [9 empty] | 54
55 | [9 empty] | 55 | [9 empty] | 55 | [9 empty] | 55
56 | [9 empty] | 56 | [9 empty] | 56 | [9 empty] | 56
57 | [9 empty] | 57 | [9 empty] | 57 | [9 empty] | 57
58 | [9 empty] | 58 | [9 empty] | 58 | [9 empty] | 58
59 | [9 empty] | 59 | [9 empty] | 59 | [9 empty] | 59
60 | [9 empty] | 60 | [9 empty] | 60 | [9 empty] | 60
61 | [9 empty] | 61 | [9 empty] | 61 | [9 empty] | 61
62 | [9 empty] | 62 | [9 empty] | 62 | [9 empty] | 62
63 | [9 empty] | 63 | [9 empty] | 63 | [9 empty] | 63
64 | [9 empty] | 64 | [9 empty] | 64 | [9 empty] | 64
65 | [9 empty] | 65 | [9 empty] | 65 | [9 empty] | 65
66 | [9 empty] | 66 | [9 empty] | 66 | [9 empty] | 66
67 | [9 empty] | 67 | [9 empty] | 67 | [9 empty] | 67
68 | [9 empty] | 68 | [9 empty] | 68 | [9 empty] | 68
69 | [9 empty] | 69 | [9 empty] | 69 | [9 empty] | 69
70 | [9 empty] | 70 | [9 empty] | 70 | [9 empty] | 70
71 | [9 empty] | 71 | [9 empty] | 71 | [9 empty] | 71
72 | [9 empty] | 72 | [9 empty] | 72 | [9 empty] | 72
73 | [9 empty] | 73 | [9 empty] | 73 | [9 empty] | 73
74 | [9 empty] | 74 | [9 empty] | 74 | [9 empty] | 74
75 | [9 empty] | 75 | [9 empty] | 75 | [9 empty] | 75
76 | [9 empty] | 76 | [9 empty] | 76 | [9 empty] | 76
77 | [9 empty] | 77 | [9 empty] | 77 | [9 empty] | 77
78 | [9 empty] | 78 | [9 empty] | 78 | [9 empty] | 78
79 | [9 empty] | 79 | [9 empty] | 79 | [9 empty] | 79
80 | [9 empty] | 80 | [9 empty] | 80 | [9 empty] | 80
81 | [9 empty] | 81 | [9 empty] | 81 | [9 empty] | 81
82 | [9 empty] | 82 | [9 empty] | 82 | [9 empty] | 82
83 | [9 empty] | 83 | [9 empty] | 83 | [9 empty] | 83
84 | [9 empty] | 84 | [9 empty] | 84 | [9 empty] | 84
85 | [9 empty] | 85 | [9 empty] | 85 | [9 empty] | 85
86 | [9 empty] | 86 | [9 empty] | 86 | [9 empty] | 86
87 | [9 empty] | 87 | [9 empty] | 87 | [9 empty] | 87
88 | [9 empty] | 88 | [9 empty] | 88 | [9 empty] | 88
89 | [9 empty] | 89 | [9 empty] | 89 | [9 empty] | 89
90 | [9 empty] | 90 | [9 empty] | 90 | [9 empty] | 90
91 | [9 empty] | 91 | [9 empty] | 91 | [9 empty] | 91
92 | [9 empty] | 92 | [9 empty] | 92 | [9 empty] | 92
93 | [9 empty] | 93 | [9 empty] | 93 | [9 empty] | 93
94 | [9 empty] | 94 | [9 empty] | 94 | [9 empty] | 94
95 | [9 empty] | 95 | [9 empty] | 95 | [9 empty] | 95
96 | [9 empty] | 96 | [9 empty] | 96 | [9 empty] | 96
97 | [9 empty] | 97 | [9 empty] | 97 | [9 empty] | 97
98 | [9 empty] | 98 | [9 empty] | 98 | [9 empty] | 98
99 | [9 empty] | 99 | [9 empty] | 99 | [9 empty] | 99
100 | [9 empty] | 100 | [9 empty] | 100 | [9 empty] | 100
101 | [9 empty] | 101 | [9 empty] | 101 | [9 empty] | 101
102 | [9 empty] | 102 | [9 empty] | 102 | [9 empty] | 102
103 | [9 empty] | 103 | [9 empty] | 103 | [9 empty] | 103
104 | [9 empty] | 104 | [9 empty] | 104 | [9 empty] | 104
105 | [9 empty] | 105 | [9 empty] | 105 | [9 empty] | 105
106 | [9 empty] | 106 | [9 empty] | 106 | [9 empty] | 106
107 | [9 empty] | 107 | [9 empty] | 107 | [9 empty] | 107
108 | [9 empty] | 108 | [9 empty] | 108 | [9 empty] | 108
109 | [9 empty] | 109 | [9 empty] | 109 | [9 empty] | 109
110 | [9 empty] | 110 | [9 empty] | 110 | [9 empty] | 110
111 | [9 empty] | 111 | [9 empty] | 111 | [9 empty] | 111
112 | [9 empty] | 112 | [9 empty] | 112 | [9 empty] | 112
113 | [9 empty] | 113 | [9 empty] | 113 | [9 empty] | 113
114 | [9 empty] | 114 | [9 empty] | 114 | [9 empty] | 114
115 | [9 empty] | 115 | [9 empty] | 115 | [9 empty] | 115
116 | [9 empty] | 116 | [9 empty] | 116 | [9 empty] | 116
117 | [9 empty] | 117 | [9 empty] | 117 | [9 empty] | 117
118 | [9 empty] | 118 | [9 empty] | 118 | [9 empty] | 118
119 | [9 empty] | 119 | [9 empty] | 119 | [9 empty] | 119
120 | [9 empty] | 120 | [9 empty] | 120 | [9 empty] | 120
121 | [9 empty] | 121 | [9 empty] | 121 | [9 empty] | 121
122 | [9 empty] | 122 | [9 empty] | 122 | [9 empty] | 122
123 | [9 empty] | 123 | [9 empty] | 123 | [9 empty] | 123
124 | [9 empty] | 124 | [9 empty] | 124 | [9 empty] | 124
125 | [9 empty] | 125 | [9 empty] | 125 | [9 empty] | 125
126 | [9 empty] | 126 | [9 empty] | 126 | [9 empty] | 126
127 | [9 empty] | 127 | [9 empty] | 127 | [9 empty] | 127
128 | [9 empty] | 128 | [9 empty] | 128 | [9 empty] | 128
129 | [9 empty] | 129 | [9 empty] | 129 | [9 empty] | 129
130 | [9 empty] | 130 | [9 empty] | 130 | [9 empty] | 130
131 | [9 empty] | 131 | [9 empty] | 131 | [9 empty] | 131
132 | [9 empty] | 132 | [9 empty] | 132 | [9 empty] | 132
133 | [9 empty] | 133 | [9 empty] | 133 | [9 empty] | 133
134 | [9 empty] | 134 | [9 empty] | 134 | [9 empty] | 134
135 | [9 empty] | 135 | [9 empty] | 135 | [9 empty] | 135
136 | [9 empty] | 136 | [9 empty] | 136 | [9 empty] | 136
137 | [9 empty] | 137 | [9 empty] | 137 | [9 empty] | 137
138 | [9 empty] | 138 | [9 empty] | 138 | [9 empty] | 138
139 | [9 empty] | 139 | [9 empty] | 139 | [9 empty] | 139
140 | [9 empty] | 140 | [9 empty] | 140 | [9 empty] | 140
141 | [9 empty] | 141 | [9 empty] | 141 | [9 empty] | 141
142 | [9 empty] | 142 | [9 empty] | 142 | [9 empty] | 142
143 | [9 empty] | 143 | [9 empty] | 143 | [9 empty] | 143
144 | [9 empty] | 144 | [9 empty] | 144 | [9 empty] | 144
145 | [9 empty] | 145 | [9 empty] | 145 | [9 empty] | 145
146 | [9 empty] | 146 | [9 empty] | 146 | [9 empty] | 146
147 | [9 empty] | 147 | [9 empty] | 147 | [9 empty] | 147
148 | [9 empty] | 148 | [9 empty] | 148 | [9 empty] | 148
149 | [9 empty] | 149 | [9 empty] | 149 | [9 empty] | 149
150 | [9 empty] | 150 | [9 empty] | 150 | [9 empty] | 150
151 | [9 empty] | 151 | [9 empty] | 151 | [9 empty] | 151
152 | [9 empty] | 152 | [9 empty] | 152 | [9 empty] | 152
153 | [9 empty] | 153 | [9 empty] | 153 | [9 empty] | 153
154 | [9 empty] | 154 | [9 empty] | 154 | [9 empty] | 154
155 | [9 empty] | 155 | [9 empty] | 155 | [9 empty] | 155
156 | [9 empty] | 156 | [9 empty] | 156 | [9 empty] | 156
157 | [9 empty] | 157 | [9 empty] | 157 | [9 empty] | 157
158 | [9 empty] | 158 | [9 empty] | 158 | [9 empty] | 158
159 | [9 empty] | 159 | [9 empty] | 159 | [9 empty] | 159
160 | [9 empty] | 160 | [9 empty] | 160 | [9 empty] | 160
161 | [9 empty] | 161 | [9 empty] | 161 | [9 empty] | 161
162 | [9 empty] | 162 | [9 empty] | 162 | [9 empty] | 162
163 | [9 empty] | 163 | [9 empty] | 163 | [9 empty] | 163
164 | [9 empty] | 164 | [9 empty] | 164 | [9 empty] | 164
165 | [9 empty] | 165 | [9 empty] | 165 | [9 empty] | 165
166 | [9 empty] | 166 | [9 empty] | 166 | [9 empty] | 166
167 | [9 empty] | 167 | [9 empty] | 167 | [9 empty] | 167
168 | [9 empty] | 168 | [9 empty] | 168 | [9 empty] | 168
169 | [9 empty] | 169 | [9 empty] | 169 | [9 empty] | 169
170 | [9 empty] | 170 | [9 empty] | 170 | [9 empty] | 170
171 | [9 empty] | 171 | [9 empty] | 171 | [9 empty] | 171
172 | [9 empty] | 172 | [9 empty] | 172 | [9 empty] | 172
173 | [9 empty] | 173 | [9 empty] | 173 | [9 empty] | 173
174 | [9 empty] | 174 | [9 empty] | 174 | [9 empty] | 174
175 | [9 empty] | 175 | [9 empty] | 175 | [9 empty] | 175
176 | [9 empty] | 176 | [9 empty] | 176 | [9 empty] | 176
177 | [9 empty] | 177 | [9 empty] | 177 | [9 empty] | 177
178 | [9 empty] | 178 | [9 empty] | 178 | [9 empty] | 178
179 | [9 empty] | 179 | [9 empty] | 179 | [9 empty] | 179
180 | [9 empty] | 180 | [9 empty] | 180 | [9 empty] | 180
181 | [9 empty] | 181 | [9 empty] | 181 | [9 empty] | 181
182 | [9 empty] | 182 | [9 empty] | 182 | [9 empty] | 182
183 | [9 empty] | 183 | [9 empty] | 183 | [9 empty] | 183
184 | [9 empty] | 184 | [9 empty] | 184 | [9 empty] | 184
185 | [9 empty] | 185 | [9 empty] | 185 | [9 empty] | 185
186 | [9 empty] | 186 | [9 empty] | 186 | [9 empty] | 186
187 | [9 empty] | 187 | [9 empty] | 187 | [9 empty] | 187
188 | [9 empty] | 188 | [9 empty] | 188 | [9 empty] | 188
189 | [9 empty] | 189 | [9 empty] | 189 | [9 empty] | 189
190 | [9 empty] | 190 | [9 empty] | 190 | [9 empty] | 190
191 | [9 empty] | 191 | [9 empty] | 191 | [9 empty] | 191
192 | [9 empty] | 192 | [9 empty] | 192 | [9 empty] | 192
193 | [9 empty] | 193 | [9 empty] | 193 | [9 empty] | 193
194 | [9 empty] | 194 | [9 empty] | 194 | [9 empty] | 194
195 | [9 empty] | 195 | [9 empty] | 195 | [9 empty] | 195
196 | [9 empty] | 196 | [9 empty] | 196 | [9 empty] | 196
197 | [9 empty] | 197 | [9 empty] | 197 | [9 empty] | 197
198 | [9 empty] | 198 | [9 empty] | 198 | [9 empty] | 198
199 | [9 empty] | 199 | [9 empty] | 199 | [9 empty] | 199
200 | [9 empty] | 200 | [9 empty] | 200 | [9 empty] | 200
201 | [9 empty] | 201 | [9 empty] | 201 | [9 empty] | 201
202 | [9 empty] | 202 | [9 empty] | 202 | [9 empty] | 202
203 | [9 empty] | 203 | [9 empty] | 203 | [9 empty] | 203
204 | [9 empty] | 204 | [9 empty] | 204 | [9 empty] | 204
205 | [9 empty] | 205 | [9 empty] | 205 | [9 empty] | 205
206 | [9 empty] | 206 | [9 empty] | 206 | [9 empty] | 206
207 | [9 empty] | 207 | [9 empty] | 207 | [9 empty] | 207
208 | [9 empty] | 208 | [9 empty] | 208 | [9 empty] | 208
209 | [9 empty] | 209 | [9 empty] | 209 | [9 empty] | 209
210 | [9 empty] | 210 | [9 empty] | 210 | [9 empty] | 210
211 | [9 empty] | 211 | [9 empty] | 211 | [9 empty] | 211
212 | [9 empty] | 212 | [9 empty] | 212 | [9 empty] | 212
213 | [9 empty] | 213 | [9 empty] | 213 | [9 empty] | 213
214 | [9 empty] | 214 | [9 empty] | 214 | [9 empty] | 214
215 | [9 empty] | 215 | [9 empty] | 215 | [9 empty] | 215
216 | [9 empty] | 216 | [9 empty] | 216 | [9 empty] | 216
217 | [9 empty] | 217 | [9 empty] | 217 | [9 empty] | 217
218 | [9 empty] | 218 | [9 empty] | 218 | [9 empty] | 218
219 | [9 empty] | 219 | [9 empty] | 219 | [9 empty] | 219
220 | [9 empty] | 220 | [9 empty] | 220 | [9 empty] | 220
221 | [9 empty] | 221 | [9 empty] | 221 | [9 empty] | 221
222 | [9 empty] | 222 | [9 empty] | 222 | [9 empty] | 222
223 | [9 empty] | 223 | [9 empty] | 223 | [9 empty] | 223
224 | [9 empty] | 224 | [9 empty] | 224 | [9 empty] | 224
225 | [9 empty] | 225 | [9 empty] | 225 | [9 empty] | 225
226 | [9 empty] | 226 | [9 empty] | 226 | [9 empty] | 226
227 | [9 empty] | 227 | [9 empty] | 227 | [9 empty] | 227
228 | [9 empty] | 228 | [9 empty] | 228 | [9 empty] | 228
229 | [9 empty] | 229 | [9 empty] | 229 | [9 empty] | 229
230 | [9 empty] | 230 | [9 empty] | 230 | [9 empty] | 230
231 | [9 empty] | 231 | [9 empty] | 231 | [9 empty] | 231
232 | [9 empty] | 232 | [9 empty] | 232 | [9 empty] | 232
233 | [9 empty] | 233 | [9 empty] | 233 | [9 empty] | 233
234 | [9 empty] | 234 | [9 empty] | 234 | [9 empty] | 234
235 | [9 empty] | 235 | [9 empty] | 235 | [9 empty] | 235
236 | [9 empty] | 236 | [9 empty] | 236 | [9 empty] | 236
237 | [9 empty] | 237 | [9 empty] | 237 | [9 empty] | 237
238 | [9 empty] | 238 | [9 empty] | 238 | [9 empty] | 238
239 | [9 empty] | 239 | [9 empty] | 239 | [9 empty] | 239
240 | [9 empty] | 240 | [9 empty] | 240 | [9 empty] | 240
241 | [9 empty] | 241 | [9 empty] | 241 | [9 empty] | 241
242 | [9 empty] | 242 | [9 empty] | 242 | [9 empty] | 242
243 | [9 empty] | 243 | [9 empty] | 243 | [9 empty] | 243
244 | [9 empty] | 244 | [9 empty] | 244 | [9 empty] | 244
245 | [9 empty] | 245 | [9 empty] | 245 | [9 empty] | 245
246 | [9 empty] | 246 | [9 empty] | 246 | [9 empty] | 246
247 | [9 empty] | 247 | [9 empty] | 247 | [9 empty] | 247
248 | [9 empty] | 248 | [9 empty] | 248 | [9 empty] | 248
249 | [9 empty] | 249 | [9 empty] | 249 | [9 empty] | 249
250 | [9 empty] | 250 | [9 empty] | 250 | [9 empty] | 250

## Calibration curve
Calibration curve for dics and rings to be used with CABAS software
Downolad CABAS from: http://www.andrzej.se/cabas/
Dose | MN | BNC
(Gy) |  | scored
0 | 820 | 41436 | Group | Dose | LCL | UCL
0.1 | 248 | 8153 |  | Gy | Gy | Gy
0.25 | 272 | 7996 | C
0.5 | 441 | 8753 | F
1 | 926 | 7852 | K
1.5 | 1369 | 7315 | W
2 | 2745 | 6922
3 | 3550 | 6426
Source: Andrzej Wojcik

## Dispersion Index
The u-test: to test if the distribution is Poissonian
u-value higher than 1.96: distribution significantly overdispersed (not Poissonian)
u-value lower than - 1.96: distribution significantly underdispersed (nor Poissonian)
u-test according to: A.A. Edwards et al. Radiation-induced chromosome
aberrations and the Poisson distribution. Radiat.Environ.Biophys. 16:89-100, 1979

## Poisson CI
Source: | Crow, E. L. and R. S. Gardner (1959). "Confidence intervals for the expecation of a Poisson variable." Biometrica 46: 441-453.
number of | confidence intervals
events | 95% |  | 99%
0 | 0 | 3.285 | 0 | 4.771
1 | 0.051 | 5.323 | 0.01 | 6.914
2 | 0.355 | 6.686 | 0.149 | 8.727
3 | 0.818 | 8.102 | 0.436 | 10.473
4 | 1.366 | 9.598 | 0.823 | 12.347
5 | 1.97 | 11.177 | 1.279 | 13.793
6 | 2.613 | 12.817 | 1.785 | 15.277
7 | 3.285 | 13.765 | 2.33 | 16.801
8 | 3.285 | 14.921 | 2.906 | 18.362
9 | 4.46 | 16.768 | 3.507 | 19.462
10 | 5.323 | 17.633 | 4.13 | 20.676
11 | 5.323 | 19.05 | 4.771 | 22.042
12 | 6.686 | 20.335 | 4.771 | 23.765
13 | 6.686 | 21.364 | 5.829 | 24.925
14 | 8.102 | 22.945 | 6.668 | 25.992
15 | 8.102 | 23.762 | 6.914 | 27.718
16 | 9.598 | 25.4 | 7.756 | 28.852
17 | 9.598 | 26.306 | 8.727 | 29.9
18 | 11.177 | 27.735 | 8.727 | 31.839
19 | 11.177 | 28.966 | 10.009 | 32.547
20 | 12.817 | 30.017 | 10.473 | 34.183
21 | 12.817 | 31.675 | 11.242 | 35.204
22 | 13.765 | 32.277 | 12.347 | 36.544
23 | 14.921 | 34.048 | 12.347 | 37.819
24 | 14.921 | 34.665 | 13.793 | 38.939
25 | 16.768 | 36.03 | 13.793 | 40.373
26 | 16.77 | 37.67 | 15.28 | 41.39
27 | 17.63 | 38.16 | 15.28 | 42.85
28 | 19.05 | 39.76 | 16.8 | 43.91
29 | 19.05 | 40.94 | 16.8 | 45.26
30 | 20.335 | 41.75 | 18.36 | 46.5
31 | 21.36 | 43.45 | 18.36 | 47.62
32 | 21.36 | 44.26 | 19.46 | 49.13
33 | 22.945 | 45.28 | 20.28 | 49.96
34 | 23.76 | 47.02 | 20.68 | 51.78
35 | 23.76 | 47.69 | 22.04 | 52.28
36 | 25.4 | 48.74 | 22.04 | 54.03
37 | 26.31 | 50.42 | 23.765 | 54.74
38 | 26.31 | 51.29 | 23.765 | 56.14
39 | 27.73 | 52.15 | 24.925 | 57.61
40 | 28.97 | 53.72 | 25.83 | 58.35
41 | 28.97 | 54.99 | 25.99 | 60.39
42 | 30.02 | 55.51 | 27.72 | 60.59
43 | 31.67 | 56.99 | 27.72 | 62.13
44 | 31.675 | 58.72 | 28.85 | 63.63
45 | 32.28 | 58.84 | 29.9 | 64.26
46 | 34.05 | 60.24 | 29.9 | 65.96
47 | 34.66 | 61.9 | 31.84 | 66.81
48 | 34.66 | 62.81 | 31.84 | 67.92
49 | 36.03 | 63.49 | 32.55 | 69.83
50 | 37.67 | 64.95 | 38.18 | 70.05
51 | 37.67 | 66.76 | 34.18 | 71.56
52 | 38.16 | 66.76 | 35.2 | 73.2
53 | 39.76 | 68.1 | 36.54 | 73.62
54 | 40.94 | 69.62 | 36.54 | 75.16
55 | 40.94 | 71.09 | 37.82 | 76.61
56 | 41.75 | 71.28 | 38.94 | 77.15
57 | 43.45 | 72.66 | 38.94 | 78.71
58 | 44.26 | 74.22 | 40.37 | 80.06
59 | 44.26 | 75.49 | 41.39 | 80.65
60 | 45.28 | 75.78 | 41.39 | 82.21
61 | 47.02 | 77.16 | 42.85 | 83.56
62 | 47.69 | 78.73 | 43.91 | 84.12
63 | 47.69 | 79.98 | 43.91 | 85.65
64 | 48.74 | 80.25 | 45.26 | 87.12
65 | 50.42 | 81.61 | 46.5 | 87.55
66 | 51.29 | 83.14 | 46.5 | 89.05
67 | 51.29 | 84.57 | 47.62 | 90.72
68 | 52.15 | 84.67 | 49.13 | 90.96
69 | 53.72 | 86.01 | 49.13 | 92.42
70 | 54.99 | 87.48 | 49.96 | 94.34
71 | 54.99 | 89.23 | 51.78 | 94.35
72 | 55.51 | 89.23 | 51.78 | 95.76
73 | 56.99 | 90.37 | 52.28 | 97.42
74 | 58.72 | 91.78 | 54.03 | 98.36
75 | 58.72 | 93.48 | 54.74 | 99.09
76 | 58.84 | 94.23 | 54.74 | 100.61
77 | 60.24 | 94.705 | 56.14 | 102.16
78 | 61.9 | 96.06 | 57.61 | 102.42
79 | 62.81 | 97.54 | 57.61 | 103.84
80 | 61.81 | 99.17 | 58.35 | 105.66
81 | 63.49 | 99.17 | 60.39 | 106.12
82 | 64.95 | 100.32 | 60.39 | 107.1
83 | 66.76 | 101.71 | 60.59 | 108.61
84 | 66.76 | 103.31 | 62.13 | 110.16
85 | 66.76 | 104.4 | 63.635 | 110.37
86 | 68.1 | 104.58 | 63.635 | 111.78
87 | 69.62 | 105.905 | 64.26 | 113.45
88 | 71.09 | 107.32 | 65.96 | 114.33
89 | 71.09 | 109.11 | 66.815 | 114.99
90 | 71.28 | 109.61 | 66.815 | 116.44
91 | 72.66 | 110.11 | 67.92 | 118.33
92 | 74.22 | 111.44 | 69.83 | 118.33
93 | 75.49 | 112.87 | 69.83 | 119.59
94 | 75.49 | 114.84 | 70.05 | 121.09
95 | 75.78 | 114.84 | 71.56 | 122.69
96 | 77.16 | 115.6 | 73.2 | 122.78
97 | 78.73 | 116.93 | 73.2 | 124.16
98 | 79.98 | 118.35 | 73.62 | 125.7
99 | 79.98 | 120.36 | 75.16 | 127.07
100 | 80.25 | 120.36 | 76.61 | 127.31
101 | 81.61 | 121.06 | 76.61 | 128.7
102 | 83.14 | 122.37 | 77.15 | 130.27
103 | 84.57 | 123.77 | 78.71 | 131.5
104 | 84.57 | 125.46 | 80.06 | 131.82
105 | 84.67 | 126.26 | 80.06 | 133.21
106 | 86.01 | 126.48 | 80.65 | 134.79
107 | 87.48 | 127.78 | 82.21 | 135.99
108 | 89.23 | 129.14 | 83.56 | 136.3
109 | 89.23 | 130.68 | 83.56 | 137.68
110 | 89.23 | 132.03 | 84.12 | 139.24
111 | 90.37 | 132.03 | 85.65 | 140.54
112 | 91.78 | 133.14 | 87.12 | 140.76
113 | 93.48 | 134.48 | 87.12 | 142.12
114 | 94.23 | 135.92 | 87.55 | 143.64
115 | 94.23 | 137.79 | 89.05 | 145.13
116 | 94.705 | 137.79 | 90.72 | 145.19
117 | 96.06 | 138.49 | 90.72 | 146.54
118 | 97.545 | 139.79 | 90.96 | 148.01
119 | 99.17 | 141.16 | 92.42 | 149.76
120 | 99.17 | 142.7 | 94.34 | 149.76
121 | 99.17 | 144.01 | 94.34 | 150.93
122 | 100.32 | 144.01 | 94.35 | 152.35
123 | 101.71 | 145.08 | 95.76 | 154.18
124 | 103.31 | 146.39 | 97.42 | 154.6
125 | 104.4 | 147.8 | 98.36 | 155.31
126 | 104.4 | 149.53 | 98.36 | 156.69
127 | 104.58 | 150.19 | 99.09 | 158.25
128 | 105.9 | 150.36 | 100.61 | 159.53
129 | 107.32 | 151.63 | 102.16 | 159.67
130 | 109.11 | 152.96 | 102.165 | 161.01
131 | 109.61 | 154.39 | 102.42 | 162.46
132 | 109.61 | 156.32 | 103.84 | 164.31
133 | 110.11 | 156.32 | 105.66 | 164.31
134 | 111.44 | 156.87 | 106.12 | 165.33
135 | 112.87 | 158.15 | 106.12 | 166.71
136 | 114.84 | 159.48 | 107.1 | 168.29
137 | 114.84 | 160.92 | 108.61 | 169.49
138 | 114.84 | 162.79 | 110.16 | 169.64
139 | 115.605 | 162.79 | 110.16 | 170.98
140 | 116.93 | 163.35 | 110.37 | 172.41
141 | 118.35 | 164.63 | 111.78 | 174.36
142 | 120.36 | 165.96 | 113.45 | 174.36
143 | 120.36 | 167.39 | 114.33 | 175.25
144 | 120.36 | 169.33 | 114.33 | 176.61
145 | 121.06 | 169.33 | 114.99 | 178.11
146 | 122.37 | 169.8 | 116.44 | 179.67
147 | 123.77 | 171.07 | 118.33 | 179.67
148 | 125.46 | 172.38 | 118.33 | 180.84
149 | 126.26 | 173.79 | 118.33 | 182.22
150 | 126.26 | 175.48 | 119.59 | 183.81
151 | 126.48 | 176.23 | 121.09 | 184.97
152 | 127.78 | 176.23 | 122.69 | 185.08
153 | 129.14 | 177.48 | 122.69 | 186.4
154 | 130.68 | 178.77 | 122.78 | 187.81
155 | 132.03 | 180.14 | 124.16 | 189.5
156 | 132.03 | 181.67 | 125.7 | 190.28
157 | 132.03 | 183.05 | 127.07 | 190.61
158 | 133.14 | 183.05 | 127.07 | 191.94
159 | 134.48 | 183.86 | 127.31 | 193.36
160 | 135.92 | 185.13 | 128.7 | 195.19
161 | 137.79 | 186.46 | 130.27 | 195.59
162 | 137.79 | 187.89 | 131.5 | 196.13
163 | 137.79 | 189.83 | 131.5 | 197.46
164 | 138.49 | 189.83 | 131.82 | 198.88
165 | 139.79 | 190.21 | 133.21 | 200.84
166 | 141.16 | 191.46 | 134.79 | 200.94
167 | 142.7 | 192.76 | 135.99 | 201.62
168 | 144.01 | 194.11 | 135.99 | 202.94
169 | 144.01 | 195.63 | 136.3 | 204.36
170 | 144.01 | 197.09 | 137.68 | 206.19
171 | 145.08 | 197.09 | 139.24 | 206.6
172 | 146.39 | 197.78 | 140.54 | 207.08
173 | 147.8 | 199.04 | 140.54 | 208.4
174 | 149.53 | 200.35 | 140.76 | 209.81
175 | 150.19 | 201.73 | 142.12 | 211.5
176 | 150.19 | 203.355 | 143.64 | 212.29
177 | 150.36 | 204.36 | 145.13 | 212.53
178 | 151.63 | 204.36 | 145.13 | 213.84
179 | 152.96 | 205.31 | 145.19 | 215.22
180 | 154.39 | 206.58 | 146.54 | 216.8
181 | 156.32 | 207.9 | 148.01 | 217.98
182 | 156.32 | 209.3 | 149.76 | 217.98
183 | 156.32 | 211.03 | 149.76 | 219.25
184 | 156.87 | 211.69 | 149.76 | 220.61
185 | 158.15 | 211.69 | 150.93 | 222.1
186 | 159.48 | 212.82 | 152.355 | 223.67
187 | 160.925 | 214.09 | 154.18 | 223.67
188 | 162.79 | 215.4 | 154.6 | 224.65
189 | 162.79 | 216.81 | 154.6 | 225.98
190 | 162.79 | 218.56 | 155.31 | 227.41
191 | 163.35 | 219.16 | 156.69 | 229.37
192 | 164.63 | 219.16 | 158.25 | 229.37
193 | 165.96 | 220.29 | 159.53 | 230.03
194 | 167.39 | 221.56 | 159.53 | 231.33
195 | 169.33 | 222.86 | 159.67 | 232.71
196 | 169.33 | 224.26 | 161.01 | 234.28
197 | 169.33 | 225.9 | 162.46 | 235.5
198 | 169.8 | 226.81 | 164.31 | 235.5
199 | 171.07 | 226.81 | 164.31 | 236.68
200 | 172.38 | 227.73 | 164.31 | 238.01
201 | 173.79 | 228.99 | 165.33 | 239.46
202 | 175.485 | 230.28 | 166.71 | 241.32
203 | 176.23 | 231.65 | 168.29 | 241.32
204 | 176.23 | 233.19 | 169.49 | 242.01
205 | 176.23 | 234.53 | 169.49 | 243.31
206 | 177.48 | 234.53 | 169.64 | 244.69
207 | 178.77 | 235.14 | 170.98 | 246.24
208 | 180.14 | 236.39 | 172.41 | 247.54
209 | 181.67 | 237.67 | 174.36 | 247.54
210 | 183.05 | 239 | 174.36 | 248.62
211 | 183.05 | 240.45 | 174.36 | 249.94
212 | 183.05 | 242.27 | 175.25 | 251.35
213 | 183.86 | 242.27 | 176.61 | 253.14
214 | 185.13 | 242.53 | 178.11 | 253.65
215 | 186.46 | 243.76 | 179.67 | 253.92
216 | 187.89 | 245.02 | 179.67 | 255.2
217 | 189.83 | 246.325 | 179.67 | 256.54
218 | 189.83 | 247.7 | 180.84 | 258
219 | 189.83 | 249.28 | 182.22 | 259.78
220 | 190.21 | 250.43 | 183.81 | 259.78
221 | 191.46 | 250.43 | 184.975 | 260.47
222 | 192.76 | 251.11 | 184.97 | 261.77
223 | 194.11 | 252.35 | 185.08 | 263.12
224 | 195.63 | 253.63 | 186.4 | 264.63
225 | 197.09 | 254.95 | 187.81 | 266.15
226 | 197.09 | 256.37 | 189.5 | 266.15
227 | 197.09 | 258.34 | 190.28 | 267.01
228 | 197.78 | 258.34 | 190.28 | 268.31
229 | 199.04 | 258.45 | 190.61 | 269.68
230 | 200.35 | 259.67 | 191.94 | 271.22
231 | 201.73 | 260.92 | 193.36 | 272.56
232 | 203.35 | 262.2 | 195.19 | 272.56
233 | 204.36 | 263.54 | 195.59 | 273.53
234 | 204.36 | 265 | 195.59 | 274.83
235 | 204.36 | 266.71 | 196.13 | 276.2
236 | 205.31 | 266.71 | 197.46 | 277.77
237 | 206.58 | 266.97 | 198.88 | 279.01
238 | 207.9 | 268.19 | 200.84 | 279.01
239 | 209.3 | 269.44 | 200.94 | 280.02
240 | 211.03 | 270.73 | 200.94 | 281.32
241 | 211.69 | 272.08 | 201.62 | 282.7
242 | 211.69 | 273.57 | 202.94 | 284.25
243 | 211.69 | 275.15 | 204.36 | 285.53
244 | 212.82 | 275.15 | 206.19 | 285.53
245 | 214.09 | 275.46 | 206.6 | 286.5
246 | 215.4 | 276.69 | 206.6 | 287.79
247 | 216.81 | 277.94 | 207.08 | 289.16
248 | 218.56 | 279.22 | 208.4 | 290.68
249 | 219.16 | 280.57 | 209.81 | 292.1
250 | 219.16 | 282.05 | 211.5 | 292.1
251 | 219.16 | 283.67 | 212.29 | 292.95
252 | 220.29 | 283.67 | 212.29 | 294.24
253 | 221.56 | 283.93 | 212.53 | 295.59
254 | 222.86 | 285.15 | 213.84 | 297.07
255 | 224.26 | 286.4 | 215.22 | 298.71
256 | 225.9 | 287.68 | 216.8 | 298.71
257 | 226.81 | 289.01 | 217.98 | 299.39
258 | 226.81 | 290.46 | 217.98 | 300.67
259 | 226.81 | 292.26 | 217.98 | 302
260 | 227.73 | 292.26 | 219.25 | 303.43
261 | 228.99 | 292.37 | 220.61 | 305.35
262 | 230.28 | 293.59 | 222.1 | 305.35
263 | 231.65 | 294.82 | 223.67 | 305.81
264 | 233.19 | 296.09 | 223.67 | 307.07
265 | 234.53 | 297.41 | 223.67 | 308.38
266 | 234.53 | 298.81 | 224.65 | 309.77
267 | 234.53 | 300.56 | 225.98 | 311.41
268 | 235.14 | 301.16 | 227.41 | 312.38
269 | 236.39 | 301.16 | 229.37 | 312.38
270 | 237.67 | 302 | 229.37 | 313.46
271 | 239 | 303.22 | 229.37 | 314.75
272 | 240.45 | 304.48 | 230.03 | 316.11
273 | 242.27 | 305.77 | 231.33 | 317.6
274 | 242.27 | 307.13 | 232.71 | 319.19
275 | 242.27 | 308.645 | 234.28 | 319.19
276 | 242.53 | 310.07 | 235.5 | 319.84
277 | 243.76 | 310.07 | 235.5 | 321.11
278 | 245.02 | 310.38 | 235.5 | 322.43
279 | 246.32 | 311.6 | 236.68 | 323.84
280 | 247.7 | 312.83 | 238.01 | 325.58
281 | 249.28 | 314.1 | 239.46 | 326.21
282 | 250.43 | 315.42 | 241.32 | 326.21
283 | 250.43 | 316.83 | 241.32 | 327.46
284 | 250.43 | 318.63 | 241.32 | 328.75
285 | 251.11 | 319.09 | 242.01 | 330.1
286 | 252.35 | 319.09 | 243.31 | 331.59
287 | 253.63 | 319.95 | 244.69 | 333.2
288 | 254.95 | 321.17 | 246.24 | 333.2
289 | 256.37 | 322.42 | 247.54 | 333.8
290 | 258.34 | 323.7 | 247.54 | 335.06
291 | 258.34 | 325.04 | 247.54 | 336.37
292 | 258.34 | 326.5 | 248.62 | 337.76
293 | 258.45 | 328.21 | 249.94 | 339.38
294 | 259.67 | 328.21 | 251.35 | 340.41
295 | 260.92 | 328.28 | 253.14 | 340.41
296 | 262.2 | 329.49 | 253.65 | 341.38
297 | 263.54 | 330.72 | 253.65 | 342.65
298 | 265 | 331.97 | 253.92 | 343.98
299 | 266.71 | 333.26 | 255.2 | 345.41
300 | 266.71 | 334.62 | 256.54 | 347.37